E.3	Assess the building envelope for energy efficiency issues and opportunities

The components of the building envelope may present an opportunity to improve energy efficiency.

To be eligible for this point

- Use the checklist to inspect the building envelope for issues and opportunities that impact energy efficiency.

- Conduct these inspections on a regular basis.

To claim this point

- Submit a copy of the completed checklist with your application.

| Building envelope inspection |  |  |  |
| --- | --- | --- | --- |
| Inspection conducted by |  |  |  |
| Date(s) |  |  |  |
| Date(s) of last inspection |  |  |  |
| Walls and foundation |  |  |  |
| Item | OK | Not OK | Notes or action required |
| Exterior walls free of cracks and other damage |  |  |  |
| No mold or fungus on exterior walls |  |  |  |
| Conditioned and unconditioned spaces properly insulated for regional climate and other factors |  |  |  |
| Air leakage minimized through an air barrier system (e.g., flashing, membranes, sealants) |  |  |  |
| No foundation failures (settlement, shifting, cracks, crumbling or flaking concrete, water damage) |  |  |  |
| Windows and doors |  |  |  |
| No windows and/or doors left open |  |  |  |
| Windows properly aligned and sealed |  |  |  |
| Windows and daylighting apertures clean |  |  |  |
| Windows and daylighting apertures not obscured by overgrown landscaping |  |  |  |
| Outdoor shading devices properly positioned and functional |  |  |  |
| Doors properly aligned and sealed |  |  |  |
| Automatic and vestibule doors functional |  |  |  |
| Assess opportunity for thermal windows |  |  |  |
| Assess opportunity for window film installation |  |  |  |
| Assess opportunity for daylighting retrofits |  |  |  |
| Assess opportunity for energy efficient doors |  |  |  |
| Roof |  |  |  |
| Item | OK | Not OK | Notes or action required |
| Roof properly maintained and in good condition |  |  |  |
| Single-ply roofing not separating |  |  |  |
| No bubbling or blisters on built-up roof |  |  |  |
| Flashing in good condition |  |  |  |
| Pitch pans not sunken or corroded |  |  |  |
| No standing water on roof surface |  |  |  |
| No clogged drains, scuppers, or downspouts |  |  |  |
| HVAC and other equipment elevated |  |  |  |
| No corrosion or damage around rooftop HVAC units and outlets, skylights, etc. |  |  |  |
| No mold or fungus on roof |  |  |  |
| No equipment or other items stored on roof |  |  |  |
| Existing solar or wind properly maintained, no damage |  |  |  |
| Assess opportunity for cool roof |  |  |  |
| Assess opportunity for renewable energy |  |  |  |

Alternative documentation
Instead of this form, you may submit at least one of the following to IREM®:

- Copy of another checklist used for inspection

- Report or memo from a service provider who performs inspections