## Step 1 Basic info
Water assessment Part 1: Basic info
This water assessment can be used to meet the IREM CSP v.2025 B.5 Part 2 baseline requirement. This assessment is not required if the property (1) has had a water systems assessment performed in the same calendar year as the year in which the IREM CSP application is submitted or (2) is no more than five years old and certified under an initial construction green building certification, such as LEED BD+C or BREEAM New Construction.
Person conducting assessment: | Who maintains the washrooms/indoor water use at your property?
Date:
Signature:
Complete the following information.
Property name:
Address: | Who maintains the irrigation equipment at your property?
Property type:
Year built:
General water systems information - Describe the water systems at the property Examples include - HVAC (cooling tower(s), humidification, boilers/steam, once-through cooling, quenching water); - Domestic water fixtures (toilets, urinals, lavatories, kitchen faucets, showers); - Other process water (commercial kitchens, food preparation, laundries) ; - Site: (landscaping irrigation, building exterior cleaning, fountain, etc.); - Water storage/Treatment/Reuse systems (rainwater/stormwater cistern, grey water recycling, ground water/well, water treatment systems, etc.) | Domestic water fixtures - Describe domestic hot water system (central boiler vs. per floor hot water heaters, steam, system capacity/size) 2-3 sentences
Compare the annual water use intensity (gal/ft2/year) with similar properties in the portfolio. Describe your observations below.
List completed measures from past 4 years (capital or operational)
Completed measure |  | Date implemented
Property is on the lower end of the range in water use for this property type
Property is in the middle of the range in water use for this property type.
Property is on the high end of the range in water use for this property type.
Other (describe)
Property management
Tenants
Other (describe)
Property management
Tenants
Other (describe)
Water storage/treatment systems
Domestic water fixtures
Other process water (kitchens, laundries)
HVAC
Landscape/Irrigation
Office
Closed retail
Open air retail
Industrial/ warehouse
MF
MOB
Senior
Storage

## Step 2 Systems
Water assessment step 2: Systems
Provide the following flush/flowrates in gallons per flush or gallons per minute. Flowrates can be found from manufacturer cutsheets, shop drawings, or on the fixture. If there are multiple fixture types, add additional lines.
Fixture |  | Make | Model |  | Flush/flowrate |  | Conservation opportunity? |  |  | Current best practice
Toilets | [6 empty] | Yes / No |  |  | 1.28 gpf
Urinals | [6 empty] | Yes / No |  |  | 0.5 gpf
Washroom sinks | [6 empty] | Yes / No |  |  | 1.5 gpm
Kitchen faucets | [6 empty] | Yes / No |  |  | 1.5 gpm
Showers | [6 empty] | Yes / No |  |  | 2.0 gpm
Others? | [6 empty] | Yes / No
Describe any plans for future retrofts/upgrades.
Water balance. It is useful to understand what systems are the largest water users. These can be estimates. If you don't have any data, then make your best guess.
Water system |  |  | Estimated annual water usage |  |  |  | Estimated % of annual water consumption
Domestic water fixtures
HVAC water use
Irrigation/Outdoor use
Process water use
Other water use
Leaks
TOTAL | [6 empty] | 0%
Describe any humidification systems on site - Describe system type, how many humidifiers, locations, annual timing on/off, controls/setpoints.
Irrigation/Outdoor water use
Estimated irrigated area (sq.ft.):
Estimated landscaped area (sq.ft.) :
Describe any irrigation use on site - Describe types of sprinklers, rain sensors or weather controllers, area that is irrigated, when irrigation is turned on/off, types of plants, including drought-tolerant/xeriscaping/native species, decorative water fountains.
Water leak inspection checklist - Thousands of gallons of water can be lost through leaks. Large leaks can lead to water damage, mold, and other issues. Regularly checking for leaks will help reach water efficiency goals for the property. Use the checklist to inspect for water leaks - only fill out the sections that are applicable for the property. Add and remove sections and/or items as necessary.
Inspection conducted by
Date(s)
Date(s) of last inspection:
Water systems | [5 empty] | HVAC system
Item |  | OK | Not OK | Notes/Next step |  | Item |  | OK | Not OK |  | Notes/Next step
Check the water meter(s) and lines running into them | [5 empty] | Check equipment room(s) for pooled water and unusual condensate
Check water leak detector dial on the water meter(s) | [5 empty] | Check seams, gaskets, seals
1. Turn off all water systems and items. 2. Watch the water meter for a minute or more. 3. If the leak detection dial is moving continuously, the property may have a leak. 4. Continue the inspection or engage the utility if you think the leak is large. | [5 empty] | Check condensate pans for overflow
Check for clogged condensate drain
Check evaporator coils
Check circulating pumps for leaks around seals and packing
Check the property’s “wet wall(s)”—the walls that carry the main water lines | [5 empty] | Check all pressure relief valves
Check water supply lines | [5 empty] | Check all automatic air vents
Check water return lines | [5 empty] | Check back flow preventer for proper function
Check for failing, freezing, or worn pipes | [5 empty] | Check cooling tower makeup and bleed water lines
Connections, fittings, and valves need close inspection. | [5 empty] | Check for mineral build-up and blockages in cooling tower fill and basin
Check water heater(s) for leaks | [5 empty] | Swimming pool (If applicable for multifamily properties)
Restrooms | [5 empty] | Item | OK | OK | Not OK |  | Notes/Next step
Restroom #1 Item |  | OK | Not OK | Notes/Next step |  | Check main pool pump(s)
Check toilet | [5 empty] | Check lines and filters for leaks/clogs
Check faucet | [5 empty] | Check water level, prevent splashes
Check showerhead | [5 empty] | Check temperature if heated
Check ceilings, walls, and floors for water damage | [5 empty] | Landscaping/Irrigation (if applicable)
Restroom #2 Item |  | OK | Not OK | Notes/Next step |  | Item |  | OK | Not OK |  | Notes/Next step
Check toilet |  |  | ` |  |  | Check irrigation lines
Check faucet | [5 empty] | Check irrigation spigots
Check showerhead | [5 empty] | Ensure spigots are properly positioned
Check ceilings, walls, and floors for water damage | [5 empty] | Check for signs of underground leaks—pooled water, moldy areas, etc.
Restroom #3 Item |  | OK | Not OK | Notes/Next step
Check toilet
Check faucet
Check showerhead
Check ceilings, walls, and floors for water damage
Restroom #4 Item |  | OK | Not OK | Notes/Next step
Check toilet
Check faucet
Check showerhead
Check ceilings, walls, and floors for water damage
Restroom #5 Item |  | OK | Not OK | Notes/Next step
Check toilets
Check faucets
Check showerhead
Check ceilings, walls, and floors for water damage
Kitchens
Kitchen #1 item |  | OK | Not OK | Notes/Next step
Check faucet
Check dishwasher
Check refrigerator
Check ceilings, walls, and floors for water damage
Kitchen #2 item |  | OK | Not OK | Notes/Next step
Check faucet
Check dishwasher
Check refrigerator
Check ceilings, walls, and floors for water damage
Kitchen #3 item |  | OK | Not OK | Notes/Next step
Check faucet
Check dishwasher
Check refrigerator
Check ceilings, walls, and floors for water damage
Kitchen #4 item | OK | OK | Not OK | Notes/Next step
Check faucet
Check dishwasher
Check refrigerator
Check ceilings, walls, and floors for water damage
Kitchen #5 item |  | OK | Not OK | Notes/Next step
Check faucet
Check dishwasher
Check refrigerator
Check ceilings, walls, and floors for water damage

## Step 3 Planning
Water assessment step 3: Planning
Establish planned and possible measures.
Main utility meter(s) capture(s) 100% of water consumption at the building?
Yes / No
If no, would it be beneficial from a cost, tenancy, and water efficiency perspective to have additional meters installed?
Select any sub-metered water consuming systems:
Other:
HVAC water use - Describe any cooling systems
Is once-through cooling water use submetered? Comment on any leaks/inefficiencies/plans for upgrades.
The planned measures can be either projects previously identified or new projects found from the assessment. Plan to carry out these projects in the next three years. Come back to this list annually to see items completed and which remain.
Planned measures | Planned date of implementation
The possible measures are projects identified, but not viable in the near term. It is important to note them down. Utility prices, cost of technology and utility incentives change quickly.
Possible measures
Water storage/treatment systems
Domestic water fixtures
Other process water (kitchens, laundries)
HVAC
Landscape/irrigation

## Drop downs (hidden)
Drop Down Menus
Lighting Type
HPS (High Pressure Sodium)
MH-PS (Metal Halide Pulse-Start )
HID (High Intensity Discharge)
Halogen MR16s
Halogen PAR lamps
Halogen (Other)
T12 Flourescents
T8 Flourescents
T5 Flourescents
T5 HO (high output) Flourescents
CFLs (Screw-in Compact Fluorescents)
LED High Bays
LED luminaires
LED luminaires
LED wallpacks
LED MR16s
LED PAR lamps
LED T8s
Incandescents
Other
Upgrade Opportunity
Y
N
Unknown
HVAC eqpmt type
Boiler
Chiller
Rooftop Unit
Cooling Tower
Pumps
Heat Exchanger
Supply Fan
Return Fan
Exhaust Fan
Air Handling Unit
Air Conditioner
Other HVAC equipment
Upgrade From T12 to T8
Upgrade From T12 to LED
Upgrade FromT8 to LED
Upgrade From T5 to CFL
Upgrade From T5 to LED
Upgrade From HID to LED
N/A